# BILL OF QUANTITIES (BOQ) FOR CONSTRUCTION OF KIUNGA POWER STATION HESCO BASTION WALL

## BILL NO. 1 - PRELIMINARY ITEMS

| Description | Amount (KES) |
| --- | --- |
| Contractor to provide and maintain an approved lock-up office, complete with furniture, equipment, and utilities for the Architect and site staff. | 1,200,000 |
| [OPTIONAL] Contractor to provide a one-bedroom temporary house for the Engineer’s site agent, including maintenance and utility bills. | 800,000 |
| Provision and maintenance of a signboard | 200,000 |
| Site security and hoarding | 1,000,000 |
| Insurance and statutory compliance | 1,500,000 |
| Total for Preliminaries | 4,700,000 |

## BILL NO. 2 - EXCAVATIONS AND EARTHWORKS

| Description | Amount (KES) |
| --- | --- |
| Clear site of all scrub, bush, undergrowth, and shrubs, grub up roots, and cart away. | 893,100 |
| Excavate in soil to remove top vegetable soil (average depth 100mm), load, and cart away. | 516,250 |
| Allow for compacting stripped surfaces (590m length). | 400,000 |
| Total for Excavations and Earthworks | 1,809,350 |

## BILL NO. 3 - HESCO WALL CONSTRUCTION

| Description | Amount (KES) |
| --- | --- |
| 100mm thick mass concrete class 15 (1:3:6) to stripped surfaces | 2,655,000 |
| Supply and install MIL7 8784 R HESCO barriers (2.21m height, 2.13m wide, single stacked). | 5,900,000 |
| Provide sand or appropriate material to fill in the HESCO sacks. | 4,165,950 |
| Supply and place angle posts (50x50x6mm) for razor wire fence. | 1,576,000 |
| Supply and fix 12 Gauge 3mm strengthening galvanized wire. | 1,180,000 |
| Provide and install a single row of 980mm diameter heavy-duty concertina razor wire. | 1,475,000 |
| Fabricate and install a mild steel gate (6000 x 2800mm, two-leaf, heavy-duty). | 1,500,000 |
| Total for HESCO Wall Construction | 17,451,950 |

## COST SUMMARY

| Description | Amount (KES) |
| --- | --- |
| Total for Preliminaries | 4,700,000 |
| Total for Excavations and Earthworks | 1,809,350 |
| Total for HESCO Wall Construction | 17,451,950 |
| Subtotal I | 23,961,300 |
| Add 5% Contingencies | 1,198,065 |
| Subtotal II | 25,159,365 |
| Add 16% VAT | 4,022,898 |
| TOTAL CARRIED TO FORM OF TENDER | 28,000,000 |